{"text_format":"1","workbook":"xlsx","n_sheets":5,"sheets":["Directions","Livestock","Sheet1","zRef_Drop_Downs","MonRoundInfo"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":0,"defined_names":6,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Directions","index":0,"n_rows":19,"n_cols":2,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
[]
[null,"These Guidelines have been transposed from the original."]
[]
[]
[]
[null,"Disclaimer: All care has been exercised in the compilation of these guidelines for quick import to ESDAT, however no liability is taken for any error.  It is the responsibility of the user to review the contained data and ensure their data is compliant with the relevant guidelines, and that this compilation meets their requirements.  "]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,"The import process is:"]
[null,"1. Import using the Import Template required."]
[null,"2. Add any necessary ChemCodes to your database."]

{"sheet":"Livestock","index":1,"n_rows":39,"n_cols":11,"rows_kept":39,"cut":false,"hidden":false,"merged":[]}
["Project:",null,null,"Table:","[zRef_Environmental_Standards]",null,"Style:","EnviroStandards","NoLocs"]
["ODBC:",null,null,"Parent Tables:","zRef_Matrix_Types,zRef_Chemistry_Lookup",null,"OnlineBaseURL:"]
[]
["ChemCode","ChemName","MatrixType","ActionLevelSource","ActionLevel","ActionLevel_Min","Units","Leached","Comments","Applies_To_Total_Result","Applies_To_Filtered_Result"]
["ColiformThermoTol","thermotolerant coliforms","water","ANZECC 2000 Livestock Drinking Water",100,null,"cfu/100mL",0,null,1,1]
["Microcystins","microcystins","water","ANZECC 2000 Livestock Drinking Water",2.2999999999999998,null,"ug/L",0,null,1,1]
["7440-70-2","Calcium","water","ANZECC 2000 Livestock Drinking Water",1000,null,"mg/L",0,null,1,1]
["14797-55-8","Nitrate","water","ANZECC 2000 Livestock Drinking Water",400,null,"mg/L",0,null,1,1]
["14797-65-0","Nitrite","water","ANZECC 2000 Livestock Drinking Water",30,null,"mg/L",0,null,1,1]
["14808-79-8","Sulfate","water","ANZECC 2000 Livestock Drinking Water",1000,null,"mg/L",0,null,1,1]
["TDS_Field","TDS","water","ANZECC 2000 Livestock Drinking Water",4000,null,"mg/L",0,"Beef cattle",1,1]
["TDS_Field","TDS","water","ANZECC 2000 Livestock Drinking Water",2500,null,"mg/L",0,"Dairy cattle",1,1]
["TDS_Field","TDS","water","ANZECC 2000 Livestock Drinking Water",5000,null,"mg/L",0,"Sheep",1,1]
["TDS_Field","TDS","water","ANZECC 2000 Livestock Drinking Water",4000,null,"mg/L",0,"Horses",1,1]
["TDS_Field","TDS","water","ANZECC 2000 Livestock Drinking Water",4000,null,"mg/L",0,"Pigs",1,1]
["TDS_Field","TDS","water","ANZECC 2000 Livestock Drinking Water",2000,null,"mg/L",0,"Poultry",1,1]
["7429-90-5","Aluminium","water","ANZECC 2000 Livestock Drinking Water",5,null,"mg/L",0,null,1,1]
["7440-38-2","Arsenic","water","ANZECC 2000 Livestock Drinking Water",0.5,null,"mg/L",0,"Up tp 5 ml/L may be tolerated if not provided as food additive and natural diet levels are low",1,1]
["7440-42-8","Boron","water","ANZECC 2000 Livestock Drinking Water",5,null,"mg/L",0,null,1,1]
["7440-43-9","Cadmium","water","ANZECC 2000 Livestock Drinking Water",0.01,null,"mg/L",0,null,1,1]
["7440-47-3","Chromium","water","ANZECC 2000 Livestock Drinking Water",1,null,"mg/L",0,null,1,1]
["7440-48-4","Cobalt","water","ANZECC 2000 Livestock Drinking Water",1,null,"mg/L",0,null,1,1]
["7440-50-8","Copper","water","ANZECC 2000 Livestock Drinking Water",0.4,null,"mg/L",0,"Sheep",1,1]
["7440-50-8","Copper","water","ANZECC 2000 Livestock Drinking Water",1,null,"mg/L",0,"Cattle",1,1]
["7440-50-8","Copper","water","ANZECC 2000 Livestock Drinking Water",5,null,"mg/L",0,"Pigs",1,1]
["7440-50-8","Copper","water","ANZECC 2000 Livestock Drinking Water",5,null,"mg/L",0,"Poultry",1,1]
["16984-48-8","Fluoride","water","ANZECC 2000 Livestock Drinking Water",2,null,"mg/L",0,null,1,1]
["7439-92-1","Lead","water","ANZECC 2000 Livestock Drinking Water",0.1,null,"mg/L",0,null,1,1]
["7439-97-6","Mercury","water","ANZECC 2000 Livestock Drinking Water",2E-3,null,"mg/L",0,null,1,1]
["7439-98-7","Molybdenum","water","ANZECC 2000 Livestock Drinking Water",0.15,null,"mg/L",0,null,1,1]
["7440-02-0","Nickel","water","ANZECC 2000 Livestock Drinking Water",1,null,"mg/L",0,null,1,1]
["7782-49-2","Selenium","water","ANZECC 2000 Livestock Drinking Water",0.02,null,"mg/L",0,null,1,1]
["7440-61-1","Uranium","water","ANZECC 2000 Livestock Drinking Water",0.2,null,"mg/L",0,null,1,1]
["7440-66-6","Zinc","water","ANZECC 2000 Livestock Drinking Water",20,null,"mg/L",0,null,1,1]
["Radium-226","Radium 226","water","ANZECC 2000 Livestock Drinking Water",5,null,"Bq/L",0,null,1,1]
["Radium-228","Radium 228","water","ANZECC 2000 Livestock Drinking Water",2,null,"Bq/L",0,null,1,1]
["Uranium-238","Uranium 238","water","ANZECC 2000 Livestock Drinking Water",0.2,null,"Bq/L",0,null,1,1]
["Grossalpha","Gross alpha","water","ANZECC 2000 Livestock Drinking Water",0.5,null,"Bq/L",0,null,1,1]
["Grossbeta","Gross beta (excluding k-40)","water","ANZECC 2000 Livestock Drinking Water",0.5,null,"Bq/L",0,null,1,1]

{"sheet":"Sheet1","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":true,"merged":[]}

{"sheet":"zRef_Drop_Downs","index":3,"n_rows":1,"n_cols":3,"rows_kept":1,"cut":false,"hidden":true,"merged":[]}
["Table","Column","Values"]

{"sheet":"MonRoundInfo","index":4,"n_rows":3,"n_cols":1,"rows_kept":3,"cut":false,"hidden":true,"merged":[]}
["Monitoring_Round"]
["Project_ID"]
["PID"]